## Data
# | Date-Time (CDT) | Temperature (W-CT 22155176), °C | Electrical Conductivity (W-CT 22155176), µS/cm | Specific Conductivity (W-CT 22155176), µS/cm | Salinity (W-CT 22155176), PSU | Total Dissolved Solids (W-CT 22155176), mg/L
1 | 2026-06-16 10:45 | 34.9527 | 0 | 0 | 0.015539 | 0
2 | 2026-06-16 10:45 | 34.9892 | 0 | 0 | 0.01555 | 0
3 | 2026-06-16 10:45 | 35.0258 | 0 | 0 | 0.01556 | 0
4 | 2026-06-16 10:45 | 35.0623 | 0 | 0 | 0.015571 | 0
5 | 2026-06-16 10:45 | 35.1022 | 0 | 0 | 0.015582 | 0
6 | 2026-06-16 10:45 | 35.1422 | 0 | 0 | 0.015593 | 0
7 | 2026-06-16 10:46 | 35.1854 | 0 | 0 | 0.015606 | 0
8 | 2026-06-16 10:46 | 35.222 | 0 | 0 | 0.015616 | 0
9 | 2026-06-16 10:46 | 35.2587 | 0 | 0 | 0.015626 | 0
10 | 2026-06-16 10:46 | 35.2887 | 0 | 0 | 0.015635 | 0
11 | 2026-06-16 10:46 | 35.312 | 0 | 0 | 0.015642 | 0
12 | 2026-06-16 10:46 | 35.3287 | 0 | 0 | 0.015646 | 0
13 | 2026-06-16 10:46 | 35.3421 | 0 | 0 | 0.01565 | 0
14 | 2026-06-16 10:46 | 35.3521 | 0 | 0 | 0.015653 | 0
15 | 2026-06-16 10:46 | 35.3688 | 0 | 0 | 0.015658 | 0
16 | 2026-06-16 10:46 | 35.3955 | 0 | 0 | 0.015665 | 0
17 | 2026-06-16 10:46 | 35.4188 | 0 | 0 | 0.015672 | 0
18 | 2026-06-16 10:46 | 35.4422 | 0 | 0 | 0.015678 | 0
19 | 2026-06-16 10:46 | 35.4623 | 0 | 0 | 0.015684 | 0
20 | 2026-06-16 10:47 | 35.4723 | 0 | 0 | 0.015687 | 0
21 | 2026-06-16 10:47 | 35.4823 | 0 | 0 | 0.01569 | 0
22 | 2026-06-16 10:47 | 35.4923 | 0 | 0 | 0.015692 | 0
23 | 2026-06-16 10:47 | 35.499 | 0 | 0 | 0.015694 | 0
24 | 2026-06-16 10:47 | 35.5057 | 0 | 0 | 0.015696 | 0
25 | 2026-06-16 10:47 | 35.5191 | 0 | 0 | 0.0157 | 0
26 | 2026-06-16 10:47 | 35.5425 | 0 | 0 | 0.015707 | 0
27 | 2026-06-16 10:47 | 35.5793 | 0 | 0 | 0.015717 | 0
28 | 2026-06-16 10:47 | 35.6228 | 0 | 0 | 0.015729 | 0
29 | 2026-06-16 10:47 | 35.6664 | 0 | 0 | 0.015741 | 0
30 | 2026-06-16 10:47 | 35.7033 | 0 | 0 | 0.015752 | 0
31 | 2026-06-16 10:48 | 35.7301 | 0 | 0 | 0.015759 | 0
32 | 2026-06-16 10:48 | 35.7401 | 0 | 0 | 0.015762 | 0
33 | 2026-06-16 10:48 | 35.7368 | 0 | 0 | 0.015761 | 0
34 | 2026-06-16 10:48 | 35.7234 | 0 | 0 | 0.015757 | 0
35 | 2026-06-16 10:48 | 35.7033 | 0 | 0 | 0.015752 | 0
36 | 2026-06-16 10:48 | 35.6831 | 0 | 0 | 0.015746 | 0
37 | 2026-06-16 10:48 | 35.6597 | 0 | 0 | 0.01574 | 0
38 | 2026-06-16 10:48 | 35.6329 | 0 | 0 | 0.015732 | 0
39 | 2026-06-16 10:48 | 35.6028 | 0 | 0 | 0.015724 | 0
40 | 2026-06-16 10:48 | 35.576 | 0 | 0 | 0.015716 | 0
41 | 2026-06-16 10:48 | 35.5459 | 0 | 0 | 0.015708 | 0
42 | 2026-06-16 10:48 | 35.5158 | 0 | 0 | 0.015699 | 0
43 | 2026-06-16 10:48 | 35.489 | 0 | 0 | 0.015692 | 0
44 | 2026-06-16 10:49 | 35.4623 | 0 | 0 | 0.015684 | 0
45 | 2026-06-16 10:49 | 35.4322 | 0 | 0 | 0.015675 | 0
46 | 2026-06-16 10:49 | 35.4055 | 0 | 0 | 0.015668 | 0
47 | 2026-06-16 10:49 | 35.3755 | 0 | 0 | 0.015659 | 0
48 | 2026-06-16 10:49 | 35.3454 | 0 | 0 | 0.015651 | 0
49 | 2026-06-16 10:49 | 35.312 | 0 | 0 | 0.015642 | 0
50 | 2026-06-16 10:49 | 35.2787 | 0 | 0 | 0.015632 | 0
51 | 2026-06-16 10:49 | 35.2321 | 0 | 0 | 0.015619 | 0
52 | 2026-06-16 10:49 | 35.1821 | 0 | 0 | 0.015605 | 0
53 | 2026-06-16 10:49 | 35.1288 | 0 | 0 | 0.01559 | 0
54 | 2026-06-16 10:49 | 35.0723 | 0 | 0 | 0.015573 | 0
55 | 2026-06-16 10:50 | 35.0125 | 0 | 0 | 0.015556 | 0
56 | 2026-06-16 10:50 | 34.9428 | 0 | 0 | 0.015537 | 0
57 | 2026-06-16 10:50 | 34.8664 | 0 | 0 | 0.015515 | 0
58 | 2026-06-16 10:50 | 34.7836 | 0 | 0 | 0.015491 | 0
59 | 2026-06-16 10:50 | 34.6975 | 0 | 0 | 0.015466 | 0
60 | 2026-06-16 10:50 | 34.6082 | 0 | 0 | 0.015441 | 0
61 | 2026-06-16 10:50 | 34.5289 | 0 | 0 | 0.015418 | 0
62 | 2026-06-16 10:50 | 34.4563 | 0 | 0 | 0.015397 | 0
63 | 2026-06-16 10:50 | 34.3838 | 0 | 0 | 0.015376 | 0
64 | 2026-06-16 10:50 | 34.3146 | 0 | 0 | 0.015356 | 0
65 | 2026-06-16 10:50 | 34.2159 | 400.7887 | 335.8003 | 0.16307 | 260.5127
66 | 2026-06-16 10:50 | 33.8319 | 36.3189 | 30.6368 | 0.024076 | 23.6073
67 | 2026-06-16 10:50 | 33.3162 | 33.4848 | 28.5064 | 0.023135 | 21.7651
68 | 2026-06-16 10:51 | 32.8392 | 417.7515 | 358.7009 | 0.174 | 271.5385
69 | 2026-06-16 10:51 | 32.3229 | 419.7609 | 363.8133 | 0.17643 | 272.8446
70 | 2026-06-16 10:51 | 31.8255 | 420.7938 | 368.0403 | 0.17844 | 273.516
71 | 2026-06-16 10:51 | 31.3881 | 419.6279 | 369.9933 | 0.17935 | 272.7581
72 | 2026-06-16 10:51 | 31.0161 | 420.1838 | 373.0533 | 0.1808 | 273.1194
73 | 2026-06-16 10:51 | 30.7024 | 420.8376 | 375.8316 | 0.18212 | 273.5444
74 | 2026-06-16 10:51 | 30.4307 | 421.4581 | 378.3137 | 0.18329 | 273.9478
75 | 2026-06-16 10:51 | 30.2226 | 421.4833 | 379.8258 | 0.18401 | 273.9641
76 | 2026-06-16 10:51 | 30.0496 | 421.7671 | 381.3305 | 0.18472 | 274.1486
77 | 2026-06-16 10:51 | 29.9051 | 421.9353 | 382.5321 | 0.18529 | 274.258
78 | 2026-06-16 10:51 | 29.7921 | 422.164 | 383.5644 | 0.18577 | 274.4066
79 | 2026-06-16 10:52 | 29.6949 | 422.0287 | 384.154 | 0.18605 | 274.3187
80 | 2026-06-16 10:52 | 29.6197 | 421.9421 | 384.628 | 0.18627 | 274.2624
81 | 2026-06-16 10:52 | 29.5571 | 421.8942 | 385.0457 | 0.18647 | 274.2312
82 | 2026-06-16 10:52 | 29.507 | 421.8832 | 385.4055 | 0.18664 | 274.2241
83 | 2026-06-16 10:52 | 29.4664 | 421.8137 | 385.6428 | 0.18675 | 274.1789
84 | 2026-06-16 10:52 | 29.432 | 421.8082 | 385.8925 | 0.18686 | 274.1753
85 | 2026-06-16 10:52 | 29.407 | 421.5549 | 385.8464 | 0.18684 | 274.0107
86 | 2026-06-16 10:52 | 29.3882 | 421.5045 | 385.9393 | 0.18688 | 273.9779
87 | 2026-06-16 10:52 | 29.3726 | 421.392 | 385.9519 | 0.18689 | 273.9048
88 | 2026-06-16 10:52 | 29.3632 | 421.2685 | 385.9086 | 0.18686 | 273.8245
89 | 2026-06-16 10:52 | 29.357 | 421.1393 | 385.8365 | 0.18683 | 273.7405
90 | 2026-06-16 10:52 | 29.3507 | 421.0975 | 385.8446 | 0.18683 | 273.7133
91 | 2026-06-16 10:52 | 29.3445 | 421.0132 | 385.8138 | 0.18682 | 273.6586
92 | 2026-06-16 10:53 | 29.3382 | 420.7827 | 385.649 | 0.18674 | 273.5087
93 | 2026-06-16 10:53 | 29.3351 | 420.6001 | 385.5047 | 0.18666 | 273.39
94 | 2026-06-16 10:53 | 29.332 | 420.5551 | 385.4866 | 0.18666 | 273.3608
95 | 2026-06-16 10:53 | 29.3257 | 420.4626 | 385.4482 | 0.18664 | 273.3007
96 | 2026-06-16 10:53 | 29.3226 | 420.4318 | 385.4431 | 0.18663 | 273.2807
97 | 2026-06-16 10:53 | 29.3226 | 420.4459 | 385.456 | 0.18664 | 273.2898
98 | 2026-06-16 10:53 | 29.3226 | 420.2967 | 385.3192 | 0.18657 | 273.1928
99 | 2026-06-16 10:53 | 29.3257 | 420.2491 | 385.2524 | 0.18654 | 273.1619
100 | 2026-06-16 10:53 | 29.3257 | 420.1844 | 385.1932 | 0.18651 | 273.1199
101 | 2026-06-16 10:53 | 29.3289 | 420.0776 | 385.0722 | 0.18645 | 273.0504
102 | 2026-06-16 10:53 | 29.332 | 420.055 | 385.0282 | 0.18643 | 273.0358
103 | 2026-06-16 10:54 | 29.3351 | 420.0241 | 384.9768 | 0.18641 | 273.0157
104 | 2026-06-16 10:54 | 29.3382 | 419.9848 | 384.9177 | 0.18638 | 272.9901
105 | 2026-06-16 10:54 | 29.3414 | 419.9173 | 384.8326 | 0.18634 | 272.9462
106 | 2026-06-16 10:54 | 29.3414 | 419.8779 | 384.7965 | 0.18632 | 272.9207
107 | 2026-06-16 10:54 | 29.3445 | 419.9034 | 384.7967 | 0.18632 | 272.9372
108 | 2026-06-16 10:54 | 29.3445 | 419.9174 | 384.8096 | 0.18633 | 272.9463
109 | 2026-06-16 10:54 | 29.3476 | 419.8922 | 384.7632 | 0.18631 | 272.9299
110 | 2026-06-16 10:54 | 29.3476 | 419.76 | 384.6421 | 0.18625 | 272.844
111 | 2026-06-16 10:54 | 29.3476 | 419.7571 | 384.6395 | 0.18625 | 272.8421
112 | 2026-06-16 10:54 | 29.3507 | 419.715 | 384.5778 | 0.18622 | 272.8147
113 | 2026-06-16 10:54 | 29.3507 | 419.6897 | 384.5547 | 0.18621 | 272.7983
114 | 2026-06-16 10:54 | 29.3507 | 419.7263 | 384.5881 | 0.18622 | 272.8221
115 | 2026-06-16 10:54 | 29.3507 | 419.6193 | 384.4901 | 0.18618 | 272.7526
116 | 2026-06-16 10:55 | 29.3539 | 419.5772 | 384.4285 | 0.18615 | 272.7252
117 | 2026-06-16 10:55 | 29.3539 | 419.6082 | 384.4569 | 0.18616 | 272.7453
118 | 2026-06-16 10:55 | 29.357 | 419.5547 | 384.3847 | 0.18612 | 272.7106
119 | 2026-06-16 10:55 | 29.3601 | 419.4787 | 384.2922 | 0.18608 | 272.6611
120 | 2026-06-16 10:55 | 29.3632 | 419.5097 | 384.2974 | 0.18608 | 272.6813
121 | 2026-06-16 10:55 | 29.3663 | 419.4704 | 384.2384 | 0.18605 | 272.6557
122 | 2026-06-16 10:55 | 29.3694 | 419.4816 | 384.2256 | 0.18605 | 272.663
123 | 2026-06-16 10:55 | 29.3726 | 419.5407 | 384.2563 | 0.18606 | 272.7014
124 | 2026-06-16 10:55 | 29.3757 | 419.5041 | 384.2 | 0.18604 | 272.6777
125 | 2026-06-16 10:55 | 29.3757 | 419.4816 | 384.1794 | 0.18603 | 272.6631
126 | 2026-06-16 10:55 | 29.3788 | 419.535 | 384.2051 | 0.18604 | 272.6978
127 | 2026-06-16 10:56 | 29.3788 | 419.4985 | 384.1716 | 0.18602 | 272.674
128 | 2026-06-16 10:56 | 29.3757 | 419.4564 | 384.1563 | 0.18602 | 272.6466
129 | 2026-06-16 10:56 | 29.3757 | 419.4816 | 384.1794 | 0.18603 | 272.6631
130 | 2026-06-16 10:56 | 29.3757 | 419.5378 | 384.2309 | 0.18605 | 272.6996
131 | 2026-06-16 10:56 | 29.3726 | 419.4675 | 384.1893 | 0.18603 | 272.6539
132 | 2026-06-16 10:56 | 29.3726 | 419.4675 | 384.1893 | 0.18603 | 272.6539
133 | 2026-06-16 10:56 | 29.3694 | 419.4732 | 384.218 | 0.18605 | 272.6576
134 | 2026-06-16 10:56 | 29.3663 | 419.4873 | 384.2538 | 0.18606 | 272.6667
135 | 2026-06-16 10:56 | 29.3632 | 419.5182 | 384.3052 | 0.18609 | 272.6868
136 | 2026-06-16 10:56 | 29.3632 | 419.4732 | 384.264 | 0.18607 | 272.6576
137 | 2026-06-16 10:56 | 29.3601 | 419.4591 | 384.2743 | 0.18607 | 272.6484
138 | 2026-06-16 10:56 | 29.3601 | 419.4085 | 384.2279 | 0.18605 | 272.6155
139 | 2026-06-16 10:56 | 29.357 | 123.0113 | 112.6996 | 0.058304 | 79.9573
140 | 2026-06-16 10:57 | 29.3539 | 1002.7439 | 918.7424 | 0.45256 | 651.7835
141 | 2026-06-16 10:57 | 29.3507 | 1004.0225 | 919.9689 | 0.45319 | 652.6146
142 | 2026-06-16 10:57 | 29.3414 | 1004.3398 | 920.4257 | 0.45342 | 652.8209
143 | 2026-06-16 10:57 | 29.332 | 1004.5558 | 920.7897 | 0.4536 | 652.9612
144 | 2026-06-16 10:57 | 29.3195 | 1004.8033 | 921.2383 | 0.45383 | 653.1221
145 | 2026-06-16 10:57 | 29.3101 | 1004.9105 | 921.5028 | 0.45396 | 653.1918
146 | 2026-06-16 10:57 | 29.3008 | 1004.9252 | 921.6827 | 0.45406 | 653.2014
147 | 2026-06-16 10:57 | 29.2945 | 1004.8403 | 921.7158 | 0.45407 | 653.1462
148 | 2026-06-16 10:57 | 29.2945 | 1004.8088 | 921.687 | 0.45406 | 653.1257
149 | 2026-06-16 10:57 | 29.2945 | 1004.9398 | 921.8071 | 0.45412 | 653.2109
150 | 2026-06-16 10:57 | 29.2945 | 1004.5688 | 921.4669 | 0.45394 | 652.9697
151 | 2026-06-16 10:57 | 29.3008 | 1004.399 | 921.2001 | 0.45381 | 652.8594
152 | 2026-06-16 10:58 | 29.3039 | 1004.3066 | 921.0601 | 0.45374 | 652.7993
153 | 2026-06-16 10:58 | 29.3101 | 1003.9985 | 920.6666 | 0.45354 | 652.599
154 | 2026-06-16 10:58 | 29.3164 | 1004.1922 | 920.7333 | 0.45357 | 652.7249
155 | 2026-06-16 10:58 | 29.3257 | 1004.1461 | 920.525 | 0.45347 | 652.6949
156 | 2026-06-16 10:58 | 29.3351 | 1004.0298 | 920.2523 | 0.45333 | 652.6193
157 | 2026-06-16 10:58 | 29.3445 | 1004.0611 | 920.1151 | 0.45326 | 652.6397
158 | 2026-06-16 10:58 | 29.357 | 1003.7603 | 919.6181 | 0.45301 | 652.4442
159 | 2026-06-16 10:58 | 29.3694 | 1003.775 | 919.4113 | 0.4529 | 652.4537
160 | 2026-06-16 10:58 | 29.3788 | 1003.775 | 919.2451 | 0.45282 | 652.4537
161 | 2026-06-16 10:58 | 29.3882 | 1003.7216 | 919.0306 | 0.45271 | 652.419
162 | 2026-06-16 10:58 | 29.3976 | 1003.7142 | 918.8583 | 0.45262 | 652.4142
163 | 2026-06-16 10:58 | 29.4038 | 1003.8138 | 918.839 | 0.45261 | 652.479
164 | 2026-06-16 10:59 | 29.4132 | 1003.8065 | 918.6669 | 0.45253 | 652.4742
165 | 2026-06-16 10:59 | 29.4226 | 1003.6516 | 918.3591 | 0.45237 | 652.3735
166 | 2026-06-16 10:59 | 29.4289 | 1003.7529 | 918.3414 | 0.45236 | 652.4393
167 | 2026-06-16 10:59 | 29.4351 | 1003.6755 | 918.1602 | 0.45227 | 652.389
168 | 2026-06-16 10:59 | 29.4445 | 1003.5742 | 917.9024 | 0.45214 | 652.3232
169 | 2026-06-16 10:59 | 29.4507 | 1003.5428 | 917.7634 | 0.45207 | 652.3029
170 | 2026-06-16 10:59 | 29.457 | 1003.6755 | 917.7745 | 0.45208 | 652.389
171 | 2026-06-16 10:59 | 29.4633 | 387.411 | 354.2113 | 0.17155 | 251.8172
172 | 2026-06-16 10:59 | 29.482 | 1722.0592 | 1573.9188 | 0.79241 | 1119.3385
173 | 2026-06-16 10:59 | 29.4851 | 1723.3198 | 1574.9761 | 0.79297 | 1120.1578
174 | 2026-06-16 10:59 | 29.4851 | 1723.9507 | 1575.5526 | 0.79327 | 1120.5679
175 | 2026-06-16 11:00 | 29.4789 | 1723.9369 | 1575.7291 | 0.79336 | 1120.559
176 | 2026-06-16 11:00 | 29.4695 | 1724.152 | 1576.2092 | 0.79362 | 1120.6987
177 | 2026-06-16 11:00 | 29.457 | 1724.2271 | 1576.6566 | 0.79385 | 1120.7476
178 | 2026-06-16 11:00 | 29.4476 | 1724.1826 | 1576.8997 | 0.79398 | 1120.7186
179 | 2026-06-16 11:00 | 29.4382 | 1723.8826 | 1576.9099 | 0.79398 | 1120.5237
180 | 2026-06-16 11:00 | 29.432 | 1724.0189 | 1577.2241 | 0.79415 | 1120.6123
181 | 2026-06-16 11:00 | 29.4258 | 1723.7769 | 1577.1913 | 0.79413 | 1120.455
182 | 2026-06-16 11:00 | 29.4226 | 1723.9882 | 1577.48 | 0.79428 | 1120.5923
183 | 2026-06-16 11:00 | 29.4195 | 1723.9131 | 1577.5066 | 0.79429 | 1120.5435
184 | 2026-06-16 11:00 | 29.4195 | 1723.1774 | 1576.8334 | 0.79394 | 1120.0653
185 | 2026-06-16 11:00 | 29.4195 | 1723.5522 | 1577.1764 | 0.79412 | 1120.309
186 | 2026-06-16 11:00 | 29.4226 | 1723.3712 | 1576.9154 | 0.79398 | 1120.1913
187 | 2026-06-16 11:01 | 29.4226 | 1723.4462 | 1576.984 | 0.79402 | 1120.24
188 | 2026-06-16 11:01 | 29.4258 | 1723.4462 | 1576.8888 | 0.79397 | 1120.24
189 | 2026-06-16 11:01 | 29.4289 | 1723.5522 | 1576.8915 | 0.79397 | 1120.309
190 | 2026-06-16 11:01 | 29.4351 | 1723.2522 | 1576.4275 | 0.79373 | 1120.1139
191 | 2026-06-16 11:01 | 29.4382 | 1723.4598 | 1576.5232 | 0.79378 | 1120.2489
192 | 2026-06-16 11:01 | 29.4414 | 1723.6711 | 1576.6213 | 0.79383 | 1120.3862
193 | 2026-06-16 11:01 | 29.4476 | 1723.4154 | 1576.198 | 0.79361 | 1120.22
194 | 2026-06-16 11:01 | 29.4507 | 1723.4598 | 1576.1444 | 0.79358 | 1120.2489
195 | 2026-06-16 11:01 | 29.457 | 1723.283 | 1575.7933 | 0.7934 | 1120.1339
196 | 2026-06-16 11:01 | 29.4601 | 1723.1774 | 1575.6025 | 0.7933 | 1120.0653
197 | 2026-06-16 11:01 | 29.4664 | 1723.3849 | 1575.603 | 0.7933 | 1120.2002
198 | 2026-06-16 11:01 | 29.4695 | 1723.4905 | 1575.6045 | 0.7933 | 1120.2688
199 | 2026-06-16 11:02 | 29.4758 | 1723.3712 | 1575.3063 | 0.79314 | 1120.1913
200 | 2026-06-16 11:02 | 29.482 | 833.1694 | 761.4959 | 0.37288 | 541.5601
201 | 2026-06-16 11:02 | 29.482 | 96.9498 | 88.6097 | 0.047618 | 63.0174
202 | 2026-06-16 11:02 | 29.4758 | 122.2879 | 111.7815 | 0.057914 | 79.4872

## Events
# | Date-Time (CDT) | Host Connected | End of File | Started | Water Detect
1 | 2026-06-16 10:45 |  |  | Logged | Out
2 | 2026-06-16 10:51 | Logged
3 | 2026-06-16 11:02 |  | Logged

## Details
Details
Devices
App Info
|  | App Name | HOBOconnect
|  | Version | 2.10.1 (1779452022)
Device Info
|  | Product | MX801
|  | Serial Number | 22153789
|  | Firmware Version | 111.256
|  | Manufacturer | Onset Computer Corporation
|  | Device Memory | 2928640
|  | Header Created | 2026/06/16 09:23:11 CDT
Deployment Info
|  | Name | 22153789
|  | Location | Off
|  | Group Name | NA
|  | Deployment Number | 9
|  | Never Stop (Overwrites Old Data) Enabled | No
|  | Configure Date | 2026/06/16 09:23:11 CDT
Logging Interval
|  | Interval 1 | 5 seconds , Logging indefinitely
|  | Logging Mode | Fixed - Normal
|  | Start Logging | On Date/Time 2026/06/16 10:45:00 CDT
|  | Stop Logging | Stop When Memory Fills
|  | Pause Options | Pause On Button Push
|  | Show Visual Alarms Until | Sensors In Limits
|  | Show LED | On
|  | Upload Data Via | Off
Series : Temperature (W-CT 22155176), °C
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 202
|  | Max | 35.74
|  | Min | 29.29
|  | Avg | 31.41
|  | Std Dev | 2.74
|  | First Sample Time | 2026/06/16 10:45:00 CDT
|  | Last Sample Time | 2026/06/16 11:01:45 CDT
Series : Electrical Conductivity (W-CT 22155176), µS/cm
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 202
|  | Max | 1724.23
|  | Min | .00
|  | Avg | 550.79
|  | Std Dev | 576.23
|  | First Sample Time | 2026/06/16 10:45:00 CDT
|  | Last Sample Time | 2026/06/16 11:01:45 CDT
Channel Parameters
|  | Conductivity Calibration Date | 2024/12/23 11:39:43 CST
|  | Calibration Point 1 : | Solution Specific Conductivity: 84 µS/cm Temperature: 19.71 °C Solution Electrical Conductivity: 75 µS/cm Pre-Cal Electrical Conductivity: 75 µS/cm
|  | Calibration Point 2 : | Solution Specific Conductivity: 1413 µS/cm Temperature: 19.86 °C Solution Electrical Conductivity: 1269 µS/cm Pre-Cal Electrical Conductivity: 1245 µS/cm
|  | Calibration Point 3 : | Solution Specific Conductivity: 12880 µS/cm Temperature: 19.83 °C Solution Electrical Conductivity: 11561 µS/cm Pre-Cal Electrical Conductivity: 11538 µS/cm
Series : Specific Conductivity (W-CT 22155176), µS/cm
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 202
|  | Max | 1577.51
|  | Min | .00
|  | Avg | 503.39
|  | Std Dev | 527.37
|  | First Sample Time | 2026/06/16 10:45:00 CDT
|  | Last Sample Time | 2026/06/16 11:01:45 CDT
Channel Parameters
|  | Temperature Compensation Mode | Linear
|  | Compensation Linear Value | 2.1 %/°C
Series : Salinity (W-CT 22155176), PSU
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 202
|  | Max | .79
|  | Min | .02
|  | Avg | .25
|  | Std Dev | .26
|  | First Sample Time | 2026/06/16 10:45:00 CDT
|  | Last Sample Time | 2026/06/16 11:01:45 CDT
Series : Total Dissolved Solids (W-CT 22155176), mg/L
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 202
|  | Max | 1120.75
|  | Min | .00
|  | Avg | 358.01
|  | Std Dev | 374.55
|  | First Sample Time | 2026/06/16 10:45:00 CDT
|  | Last Sample Time | 2026/06/16 11:01:45 CDT
Channel Parameters
|  | TDS Constant | 0.65 ke